ANNADEL: logger was switched out because couldn’t offload, though it was blinking; new logger #2412688. There was some failure with the logger that was left in 2011 (#9893576), because it recorded no data during the 2011-2012 year.

BACKMAN: Installed new RG logger #2412690; old one was not logging and no data was recovered for 2011-2012 season

BADGER: bucket was clogged when visited on 6/1/2012; logger # is 2412689. Offloaded and relaunched successfully, but will need to examine data to see when events stopped recording due to clogging.

BELTANE: equipment ran over by a tractor and thrown away – story from people at ranch house when we went to offload it. We did not replace it due to budget and no readily identifiable location.

COOK: bucket was clogged when visited on 5/2/2012; logger # is 2412693. Will need to closely examine data recorded to see when it probably stopped recording events due to clog.

KUNDE: RG #9893581 offloaded and relaunched successfully

MACKIE: logger #2412691; had to change battery in order to offload logger

MITSUI: Replaced and moved, new logger #9893577; no data for 2011-2012 season. RG damaged by bovine vandalism, so we moved it to a spot inside the fence near the ranch house. The manager (Jeff Wilcox) said he would check it regularly to make sure it isn’t clogged.

SAWI: logger #2412690 would not offload, so it was switched out for #9893576

SEC (Sonoma Ecology Center; done with SDC plots, may be labeled ‘SEC’ or ‘SDC’; we need to make sure it matches the name in the point shapefile of rain gauge locations): logger #9893579 was offloaded and relaunched, however was not logging data because the bucket and grate were clogged with debris from an overhanging *Baccharis* bush. We moved the gauge 4.3m @ 292 degrees to avoid the bush.

SECRET: logger #9893579; bucket was clogged and overflowing all winter (according to Joe Wade). Data was successfully offloaded but is likely inaccurate.

SPAULDING: logger #2412694 offloaded, battery changed, and relaunched. Top of housing was off and clogged, so probably inaccurate/bad data.

YAHNG: offloaded and relaunched; logger #9893578